| Building Over Sewer Agreement (full application form) |  |
| --- | --- |
| Reference: |  |
| Please ensure you have read our guidance notes before completing this enquiry form and include as much information as possible. If mandatory fields (marked with a *) are not completed this may result in your application being delayed. |
| Confirmation: Applicants Details |
|  | Applicant | Agent (if applicable) |
| Title |  |  |  | * |
| First Name/Company Name |  |  |  | * |
| Surname (If applicable) |  |  |  | * |
| House Name/Number |  |  |  |  |
| Street |  |  |  | * |
| Town/City |  |  |  | * |
| County |  |  |  | * |
| Post Code |  |  |  | * |
| Contact Telephone Number(s) |  |  |  | * |
| E-mail address |  |  |  |  |
| Preferred Method of Correspondence: e-mail |  | Post |  |  |
| Supporting Documentation: Checklist |
|  | Comment |  |
| Location Plan, Suitably Scaled (Property boundary edged green, extension shaded pink, public sewer in red) |  | * |  |  |
| Detailed Drawing indicating proposed extension and confirmed position of the public sewer. |  | * |  |  |
| Drawings showing protection method for sewer/lateral. |  | * |  |  |
| Drawing showing details of any new manhole, replacement pipe materials or connection to the public sewer. (If applicable) |  |  |  |  |
| Copy of relevant planning permission/Building Regulations information |  | * |  |  |
| National Grid Reference e.g. ST123456 |  |  |
| Signature & Confirmation |
| Signed |  |  | Print Name |  |  |
| Date |  |  |

| Building Over Sewer Agreement (Legal Proforma) |  |
| --- | --- |
| Reference: |  |
| Please complete a Building Over Sewer Agreement in respect of the above premises and in accordance with the following details: |
| Applicants Details |
| Building Over Sewer Agreement at: |  | * |
| Applicant Name(s): |  |  |  | * |
| Applicant Surname(s): |  |  |  | * |
| Address and Contact for Correspondence (if different to the above please specify name and contact details): |  | * |
| Are the Premises Freehold or Leasehold?: | * | * |
| If the property is Leasehold, approval cannot be given unless the freeholder enters into the agreement or provides written consent. |
| Are Proposals Exempt from Building Regulations?: | * | * |
| Building Regulations Application Reference: (if applicable) | * |  |
| Date of Deposit of Plans: | * | * |
| E-mail address: |  |  |
| Internal Use Only |
| We enclose four copies of approved drawing showing : The Property Boundary: The proposed extension: The sewer/lateral drain: edged green; edged pink; coloured red. |
| Signature & Confirmation |  |
| We confirm that both legal and engineering fees have been paid by the applicant. |
| Signed: (DCWW Project Engineer) |  |  |
| Date: |  |  |  |  |

| Building Over (or near to) a Public Sewer Guidance Notes |  |
| --- | --- |

All types of development, including conservatories, garages and patios etc, whether subject to Planning and Building Regulations legislation or not, require our agreement if any part of the proposed building will be constructed over (or near) a public sewer. Under normal circumstances, the term ‘near’ means within 3 metres of the centreline of the sewer, but if the public sewer is deeper than 3 metres or the sewer is of large diameter, this distance may be greater.

We recognise however, that under some circumstances, preventing the construction of a building would restrict the improvement of an existing property. In such circumstances and by prior agreement with you, we may permit buildings to be constructed over (or near to) a public sewer.

Where we do permit building to take place within 3 metres of a sewer, we will require you to enter into a formal agreement with us.

Making An Application

When we receive an application to enter into a Building over Sewer Agreement, we first check whether all the information necessary for us to be able to undertake an assessment of your application has been provided.  If not, we will respond to you and ask you to provide any missing information. To avoid incurring any delay, please be sure to complete the checklist of information which is enclosed and provide all of the information necessary to support your application.

Once we have completed a technical assessment of your application you will be informed whether your proposal has been accepted or rejected. If your application is rejected we will inform you in writing of the reasons why or ask for further information from you. If your application is accepted we will request payment.  Once payment has been received and processed, our legal department will be instructed to prepare a Building Over Sewer Agreement.

Technical Requirements

When building over (or near to) a public sewer, certain measures must be implemented to protect the asset from damage and additional loading arising from the presence of the new structure. These measures must be carried out (at your cost).

The sewer must be exposed and a check on the external condition of the pipeline carried out.  (Only required if the proposed building crosses the sewer). Any defective sections of the pipeline must be renewed as necessary. (If defects with the sewer are discovered you must notify us immediately and we will be able to advise on our requirements).

All foundations for the extension must be the same level as, or below, the invert level of the pipeline. Where the pipeline passes through walls, lintels must be provided and the foundations taken down to the pipe invert level on either side of the pipe.

Manholes must be located outside the building and any existing manholes which would be enclosed in the proposed building must be relocated or removed entirely.

Note: The exact location and depths of the public sewers must be verified on site. You are responsible for producing accurate drawings showing the location of both your development and the existing public sewers.  If you have difficulty locating the public sewers you can obtain assistance from our Operations Department who may charge for this service.  To obtain this service, please contact our Developer Services department on 0800 917 2652, quoting your BOS reference.

Summary of Costs

There are costs that you will incur in obtaining an agreement to build over a public sewer, we require you to pay a fee for both administration and inspection, as well as our legal fees which are incurred in the process of preparing an agreement . Please refer to our Scheme of Charges for further details.

You may also incur additional costs payable to others for services such as CCTV surveys, plan preparation, construction and legal charges, depending on the nature of your proposals.

Health & Safety

When carrying out any work on the public sewer network, you (or your chosen DCWW H&S approved contractor) must apply to gain access to the sewerage network each time. Carrying out work involving contact with sewage carries significant risks in relation to Health and Safety. In order to protect everyone who is working on or near public sewers, we must be able to control access to the public sewers so that we can warn of specific dangers when we are aware of them. We have a responsibility to ensure the safety of everyone who is working on public sewers. Under no circumstances are contractors permitted to access or work within with the public sewer network, without our prior consent. Because of the safety risk, anyone who works on a public sewer without our authorisation could be liable to criminal proceedings.

Note: Further information, a detailed description of our requirements (and specification) can be obtained via our website (www.dwrcymru.com/developer-services).  Alternatively, you can contact us on 0800 917 2652 to request a hard copy.